Copyright 2022 by The American Institute of Architects (AIA)

Exclusively published and distributed by Deltek, Inc. for the AIA

This Product MasterSpec Section is licensed by Deltek, Inc. to Fi-Foil Company, Inc. ("Licensee").

This Product MasterSpec Section modifies the original MasterSpec text and does not include the full content of the original MasterSpec Section.

Revisions made to the original MasterSpec text are made solely by the Licensee and are not endorsed by, or representative of the opinions of, Deltek or The American Institute of Architects (AIA). Neither AIA nor Deltek u are liable in any way for such revisions or for the use of this Product MasterSpec Section by any end user. A qualified design professional should review and edit the document to suit project requirements.

For more information, contact Fi-Foil Company, Inc., 612 Bridgers Ave. West | P.O. Box 800, Auburndale, FL 33823; Phone: (800) 448-3401 | (863) 965-1846; Fax: (863) 967-0137; Website: www.fifoil.com; Email: info@fifoil.com.

For information about MasterSpec, contact Deltek at (800) 424-5080 or visit masterspec.com.

SECTION 072100 - THERMAL INSULATION

TIPS:

To view non-printing Editor's Notes that provide guidance for editing, click on MasterWorks/Single-File Formatting/Toggle/Editor's Notes.

To read detailed research, technical information about products and materials, and coordination checklists, click on MasterWorks/Supporting Information.

Access Manufacturer's Specpoint Product Cards:

<Double click here to view the manufacturer's product cards available at Deltek Specpoint>

Access BIM Content on BIMsmith Market:

<Double click here to view products on BIMsmith Market>

Revise this Section by deleting and inserting text to meet Project-specific requirements.

MasterSpec includes provisions for LEED v4, LEED v4.1, IgCC/ASHRAE 189.1, Green Globes, and CALGreen.

GENERAL

SUMMARY

Section Includes:

Extruded polystyrene foam-plastic board insulation.

Molded (expanded) polystyrene foam-plastic board insulation.

Graphite-polystyrene foam-plastic board insulation.

Polyisocyanurate foam-plastic board insulation.

Glass-fiber blanket insulation.

Glass-fiber board insulation.

Mineral-wool blanket insulation.

Mineral-wool board insulation.

Loose-fill insulation.

Spray-applied cellulosic insulation.

Cellular glass insulation.

Reflective insulation.

Related Requirements:

Retain subparagraphs below to cross-reference requirements Contractor might expect to find in this Section but are specified in other Sections.

Section 042000 "Unit Masonry" for insulation installed in masonry cells.

Section 061600 "Sheathing" for foam-plastic board sheathing installed directly over wood or steel framing.

[Section 071326 "Self-Adhering Sheet Waterproofing"] [Section 071353 "Elastomeric Sheet Waterproofing"] [Section 071354 "Thermoplastic Sheet Waterproofing"] [Section 071413 "Hot Fluid-Applied Rubberized Asphalt Waterproofing"] [Section 071416 "Cold Fluid-Applied Waterproofing"] for insulated drainage panels installed with plaza deck insulation.

Section 072119 "Foamed-in-Place Insulation" for spray-applied polyurethane foam insulation.

[Section 072600 "Vapor Retarders"] [Section 072713 "Modified Bituminous Sheet Air Barriers"] [Section 072715 "Nonbituminous Self-Adhering Sheet Air Barriers"] [Section 072726 "Fluid-Applied Membrane Air Barriers"] for vapor retarders or air barriers.

[Section 075113 "Built-up Asphalt Roofing"] [Section 075116 "Built-up Coal Tar Roofing"] [Section 075213 "Atactic-Polypropylene (APP) Modified Bituminous Membrane Roofing"] [Section 075216 "Styrene-Butadiene-Styrene (SBS) Modified Bituminous Membrane Roofing"] [Section 075316 "Chlorosulfonate-Polyethylene (CSPE) Roofing"] [Section 075323 "Ethylene-Propylene-Diene-Monomer (EPDM) Roofing"] [Section 075416 "Ketone Ethylene Ester (KEE) Roofing"] [Section 075419 "Polyvinyl-Chloride (PVC) Roofing"] [Section 075423 "Thermoplastic-Polyolefin (TPO) Roofing"] [Section 075552.13 "Atactic-Polypropylene (APP) Modified Bituminous Protected Membrane Roofing"] [Section 075552.16 "Styrene-Butadiene-Styrene (SBS) Modified Bituminous Protected Membrane Roofing"] [Section 075556 "Fluid-Applied Protected Membrane Roofing"] [and] [Section 075700 "Coated Foamed Roofing"] for insulation specified as part of roofing construction.

[Section 092300 "Gypsum Plastering"] [Section 092400 "Portland Cement Plastering"] [Section 092613 "Gypsum Veneer Plastering"] [Section 092900 "Gypsum Board"] for sound attenuation blanket used as acoustic insulation.

ACTION SUBMITTALS

Product Data:

Extruded polystyrene foam-plastic board insulation.

Molded (expanded) polystyrene foam-plastic board insulation.

Graphite-polystyrene foam-plastic board insulation.

Polyisocyanurate foam-plastic board insulation.

Glass-fiber blanket insulation.

Glass-fiber board insulation.

Mineral-wool blanket insulation.

Mineral-wool board insulation.

Loose-fill insulation.

Spray-applied cellulosic insulation.

Cellular glass insulation.

Reflective insulation.

Sustainable Design Submittals:

Retain "Product Data" Subparagraph below to require minimum recycled content for LEED 2009 MR Credit 4 - "Recycled Content."

Product Data: For recycled content, indicating postconsumer and preconsumer recycled content and cost.

Retain first three subparagraphs below to be eligible for LEED v4 and LEED v4.1 credit. See the Evaluations.

"Environmental Product Declaration" Subparagraph below applies to LEED v4 (all) MR Credit, "Building Product Disclosure and Optimization - Environmental Product Declarations." Confirm with manufacturer that EPDs are available for each product.

Environmental Product Declaration: For each product.

"Health Product Declaration" Subparagraph below applies to LEED v4 (all) MR Credit, "Building Product Disclosure and Optimization - Material Ingredients, Option 1 - Material Ingredient Reporting." Confirm with manufacturer that HPDs are available and comply with requirements of the HPD Open Standard or USGBC-approved program.

Health Product Declaration: For each product.

"Sourcing of Raw Materials" Subparagraph below applies to LEED v4 (all) MR Credit, "Building Project Disclosure and Optimization - Sourcing of Raw Materials, Option 1 - Raw Material Source and Extraction Reporting." Confirm with manufacturer that corporate sustainability reports are available, have been prepared within the last year or are applicable to the year of production, and are by an organization approved by the USGBC.

Sourcing of Raw Materials: Corporate sustainability report for each manufacturer.

Retain first "Environmental Product Declaration" Subparagraph below if products specified in the Section are required to have an EPD to comply with the IgCC's requirement of 55 percent recycled materials.

Environmental Product Declaration: For each product.

First "Environmental Product Declaration" Subparagraph below applies to ASHRAE 189.1 if products specified in the Section are used to comply with the requirements of paragraph 9.4.1.4, "Multiple-Attribute Product Declaration or Certification," which requires EPDs for a minimum of 10 products.

Environmental Product Declaration: For each product.

"Environmental Product Declaration," Third-Party Certifications," and "Third-Party Certified Life-Cycle Assessment" subparagraphs below apply to Green Globes v1.4 if products specified in the Section are used to comply with the requirements of paragraph 3.5.1.2, "Path B: Prescriptive Path for Building Core and Shell," which requires that a certain percentage of the materials used in the core and shell have EPDs, third-party certifications, and/or third-party lifecycle assessments.

Environmental Product Declaration: For each product.

Third-Party Certifications: For each product.

Third-Party Certified Life-Cycle Assessment: For each product.

Retain "Health Product Declaration (HPD)" Subparagraph below for LEED v4.1 and LEED v4.1 MRc "Building Product Disclosure and Optimization - Material Ingredients," Option 2 - "Material Ingredient Optimization, Material Ingredient Screening and Optimization Action Plan."

Health Product Declaration (HPD): Provide documentation indicating that manufacturer has screened and publicly provided ingredient disclosure to 1000 ppm, and has developed an action plan to mitigate known hazards.

"Product Data" Subparagraph below applies to LEED v4, LEED v4.1, IgCC/ASHRAE 189.1, and Green Globes. Coordinate with requirements for adhesives.

Product Data: For adhesives, indicating VOC content.

"Laboratory Test Reports" Subparagraph below applies to LEED v4, LEED v4.1, IgCC/ASHRAE 189.1, and Green Globes. Coordinate with requirements for adhesives.

Laboratory Test Reports: For adhesives, indicating compliance with requirements for low-emitting materials.

"Laboratory Test Reports" Subparagraph below applies to LEED v4, LEED v4.1, or IgCC/ASHRAE 189.1.

Laboratory Test Reports: For insulation, indicating compliance with requirements for low-emitting materials.

INFORMATIONAL SUBMITTALS

"Installer's Certification" Paragraph below is required by the International Energy Conservation Code unless insulation materials are labeled by manufacturer to indicate R-value. Retain for loose-fill insulation and spray-applied cellulosic-fiber loose-fill insulation. Retain if deleting labeling requirements for other types of insulation material specified in Part 2.

Installer's Certification: Listing type, manufacturer, and R-value of insulation installed in each element of the building thermal envelope.

For blown-in or sprayed fiberglass and cellulosic-fiber loose-fill insulation, indicate initial installed thickness, settled thickness, settled R-value, installed density, coverage area, and number of bags installed.

Sign, date, and post the certification in a conspicuous location on Project site.

Product Test Reports: For each product, for tests performed by a qualified testing agency.

Research Reports: For manufacturer's evaluation reports.

Sample Warranty: For manufacturer's standard warranty.

DELIVERY, STORAGE, AND HANDLING

Protect insulation materials from physical damage and from deterioration due to moisture, soiling, and other sources. Store inside and in a dry location. Comply with manufacturer's written instructions for handling, storing, and protecting during installation.

Retain paragraph below for foam-plastic board insulation.

Protect foam-plastic board insulation as follows:

Do not expose to sunlight except to necessary extent for period of installation and concealment.

Protect against ignition at all times. Do not deliver foam-plastic board materials to Project site until just before installation time.

Quickly complete installation and concealment of foam-plastic board insulation in each area of construction.

PRODUCTS

Manufacturers and products listed in this Section are neither recommended nor endorsed by the AIA or Deltek. Before selecting manufacturers and products, verify availability, suitability for intended applications, and compliance with minimum performance requirements. For definitions of terms and requirements for Contractor's product selection, see Section 016000 "Product Requirements."

Product options commonly available from manufacturers are included in square brackets throughout the Section Text. Not every manufacturer listed can provide every option offered; verify availability with manufacturers. For definitions of terms and requirements for Contractor's product selection, see Section 016000 "Product Requirements."

PERFORMANCE REQUIREMENTS

Retain "Surface-Burning Characteristics" Paragraph below and first option for Class A materials, second option for Class B, and third option for Class C.

Surface-Burning Characteristics: Maximum flame-spread and smoke-developed indexes less than [25 and 450] [75 and 450] [200 and 450] when tested in accordance with ASTM E84.

Retain "Fire-Resistance Ratings" Paragraph below only if products specified are part of a fire-resistance-rated assembly. Indicate rating, testing agency, and testing agency's design designation on Drawings.

Fire-Resistance Ratings: Comply with ASTM E119 or UL 263; testing by a qualified testing agency. Identify products with appropriate markings of applicable testing agency.

Indicate design designations from UL's "Fire Resistance Directory" or from listings of another qualified testing agency.

Retain "Fire Propagation Characteristics" Paragraph below if required. Tested products are not available from all manufacturers for all types of assemblies.

Fire Propagation Characteristics: Passes NFPA 285 testing as part of an approved assembly.

Identification mark in "Labeling" Paragraph below is required by the International Energy Conservation Code unless insulation Installer is providing certification specified in "Informational Submittals" Article.

Labeling: Provide identification of mark indicating R-value of each piece of insulation 12 inches (305 mm) and wider in width.

Coordinate R-value in "Thermal-Resistance Value (R-Value)" Paragraph below with insulation types selected; copy subparagraph as needed for different R-values at multiple locations.

Thermal-Resistance Value (R-Value): [R-value as indicated on Drawings] [R-value as indicated below] <Insert R-value> in accordance with ASTM C518.

R-Value at <Insert location>: <Insert R-value>.

First paragraph below applies to LEED v4, LEED v4.1, and ASHRAE 189.1.

Insulation is to comply with requirements of the California Department of Public Health's "Standard Method for the Testing and Evaluation of Volatile Organic Chemical Emissions from Indoor Sources Using Environmental Chambers."

First paragraph below applies to IgCC/ASHRAE 189.1.

Insulation is to comply with requirements of the California Department of Public Health's "Standard Method for the Testing and Evaluation of Volatile Organic Chemical Emissions from Indoor Sources Using Environmental Chambers." Formaldehyde emissions are not to exceed 16.5 mcg/cu. m or 13.5 ppb, whichever is less, except for insulation manufactured without formaldehyde.

Retain "Recycled Content" Paragraph below to specify recycled content if required. An alternative method of requiring recycled content is to retain requirement in Project's Division 01 sustainable design requirements Section that gives Contractor the option and responsibility to determine how recycled content requirements will be met.

Recycled Content: Postconsumer recycled content plus one-half of preconsumer recycled content not less than <Insert number> percent.

First subparagraph below applies to LEED v4, LEED v4.1, IgCC/ASHRAE 189.1, and Green Globes. VOC content limit is that for multipurpose construction adhesives.

Adhesives are to have a VOC content of [70] <Insert value> g/L or less.

First subparagraph below applies to LEED v4, LEED v4.1, and ASHRAE 189.1.

Adhesive is to comply with testing and product requirements of the California Department of Public Health's "Standard Method for the Testing and Evaluation of Volatile Organic Chemical Emissions from Indoor Sources Using Environmental Chambers."

First subparagraph below applies to IgCC/ASHRAE 189.1.

Adhesive is to comply with testing and product requirements of the California Department of Public Health's "Standard Method for the Testing and Evaluation of Volatile Organic Chemical Emissions from Indoor Sources Using Environmental Chambers." Formaldehyde emissions are not to exceed 9 mcg/cu. m or 7 ppb, whichever is less.

Subparagraph below applies to Green Globes.

Adhesive is to comply with testing and product requirements of the California Department of Public Health's "Standard Method for the Testing and Evaluation of Volatile Organic Chemical Emissions from Indoor Sources Using Environmental Chambers." The building concentration of formaldehyde is not to exceed half of the indoor recommended exposure limit, or 33 mcg/cu. m, and that of acetaldehyde is not to exceed 9 mcg/cu. m.

EXTRUDED POLYSTYRENE FOAM-PLASTIC BOARD INSULATION

Extruded polystyrene boards in this article are also called "XPS boards." Roman numeral designators in ASTM C578 are assigned in a fixed random sequence, and their numeric order does not reflect increasing strength or other characteristics.

Insert drawing designations to identify each product. Use these designations on Drawings to indicate where each insulation type is required.

Extruded Polystyrene Board Insulation, Type X <Insert drawing designation>: ASTM C578, Type X, 15 psi (104 kPa) minimum compressive strength; unfaced.

Retain "Manufacturers" Subparagraph and list of manufacturers below to require products from manufacturers listed or a comparable product from other manufacturers.

Manufacturers: Subject to compliance with requirements, provide products by one of the following:

DiversiFoam Products.

DuPont de Nemours, Inc.

MBCI; Cornerstone Building Brands.

Owens Corning.

The Dow Chemical Company.

<Insert manufacturer's name>.

Extruded Polystyrene Board Insulation, Type IV <Insert drawing designation>: ASTM C578, Type IV, 25 psi (173 kPa) minimum compressive strength; unfaced.

Retain "Manufacturers" Subparagraph and list of manufacturers below to require products from manufacturers listed or a comparable product from other manufacturers.

Manufacturers: Subject to compliance with requirements, provide products by one of the following:

DiversiFoam Products.

DuPont de Nemours, Inc.

Owens Corning.

The Dow Chemical Company.

<Insert manufacturer's name>.

Extruded Polystyrene Board Insulation, Type IV, Drainage Panels <Insert drawing designation>: ASTM C578, Type IV, 25 psi (173 kPa) minimum compressive strength; unfaced; fabricated with shiplap or channel edges and with one side having grooved drainage channels.

Retain "Manufacturers" Subparagraph and list of manufacturers below to require products from manufacturers listed or a comparable product from other manufacturers.

Manufacturers: Subject to compliance with requirements, provide products by one of the following:

DiversiFoam Products.

DuPont de Nemours, Inc.

Owens Corning.

The Dow Chemical Company.

<Insert manufacturer's name>.

Extruded Polystyrene Board Insulation, Type VI <Insert drawing designation>: ASTM C578, Type VI, 40 psi (276 kPa) minimum compressive strength.

Retain "Manufacturers" Subparagraph and list of manufacturers below to require products from manufacturers listed or a comparable product from other manufacturers.

Manufacturers: Subject to compliance with requirements, provide products by one of the following:

DiversiFoam Products.

DuPont de Nemours, Inc.

Owens Corning.

The Dow Chemical Company.

<Insert manufacturer's name>.

Extruded Polystyrene Board Insulation, Type VI, Drainage Panels <Insert drawing designation>: ASTM C578, Type VI, 40 psi (276 kPa) minimum compressive strength; unfaced; fabricated with shiplap or channel edges and with one side having grooved drainage channels.

Retain "Manufacturers" Subparagraph and list of manufacturers below to require products from manufacturers listed or a comparable product from other manufacturers.

Manufacturers: Subject to compliance with requirements, provide products by one of the following:

DiversiFoam Products.

DuPont de Nemours, Inc.

Owens Corning.

The Dow Chemical Company.

<Insert manufacturer's name>.

Extruded Polystyrene Board Insulation, Type VII <Insert drawing designation>: ASTM C578, Type VII, 60 psi (414 kPa) minimum compressive strength.

Retain "Manufacturers" Subparagraph and list of manufacturers below to require products from manufacturers listed or a comparable product from other manufacturers.

Manufacturers: Subject to compliance with requirements, provide products by one of the following:

DiversiFoam Products.

DuPont de Nemours, Inc.

Owens Corning.

The Dow Chemical Company.

<Insert manufacturer's name>.

Extruded Polystyrene Board Insulation, Type VII, Drainage Panels <Insert drawing designation>: ASTM C578, Type VII, 60 psi (414 kPa) minimum compressive strength; fabricated with shiplap or channel edges and with one side having grooved drainage channels.

Retain "Manufacturers" Subparagraph and list of manufacturers below to require products from manufacturers listed or a comparable product from other manufacturers.

Manufacturers: Subject to compliance with requirements, provide products by one of the following:

DiversiFoam Products.

DuPont de Nemours, Inc.

Owens Corning.

The Dow Chemical Company.

<Insert manufacturer's name>.

Extruded Polystyrene Board Insulation, Type V <Insert drawing designation>: ASTM C578, Type V, 100 psi (690 kPa) minimum compressive strength.

Retain "Manufacturers" Subparagraph and list of manufacturers below to require products from manufacturers listed or a comparable product from other manufacturers.

Manufacturers: Subject to compliance with requirements, provide products by one of the following:

DuPont de Nemours, Inc.

Owens Corning.

The Dow Chemical Company.

<Insert manufacturer's name>.

MOLDED (EXPANDED) POLYSTYRENE FOAM-PLASTIC BOARD INSULATION

Molded (expanded) polystyrene board insulation in this article are also called "EPS boards," "expanded polystyrene boards," or "beadboards." Roman numeral designators in ASTM C578 are assigned in a fixed random sequence, and their numeric order does not reflect increasing strength or other characteristics.

Insert drawing designations to identify each product. Use these designations on Drawings to indicate where each insulation type is required.

Molded (Expanded) Polystyrene Board Insulation, Type I <Insert drawing designation>: ASTM C578, Type I, 10 psi (69 kPa) minimum compressive strength.

Retain "Manufacturers" Subparagraph and list of manufacturers below to require products from manufacturers listed or a comparable product from other manufacturers.

Manufacturers: Subject to compliance with requirements, provide products by one of the following:

Amvic Building System.

Atlas Molded Products; a division of Atlas Roofing Corporation.

DiversiFoam Products.

Insulfoam; Carlisle Construction Materials Company.

Plymouth Foam, Inc.

<Insert manufacturer's name>.

Molded (Expanded) Polystyrene Board Insulation, Type VIII <Insert drawing designation>: ASTM C578, Type VIII, 13 psi (90 kPa) minimum compressive strength.

Retain "Manufacturers" Subparagraph and list of manufacturers below to require products from manufacturers listed or a comparable product from other manufacturers.

Manufacturers: Subject to compliance with requirements, provide products by one of the following:

Atlas Molded Products; a division of Atlas Roofing Corporation.

DiversiFoam Products.

Plymouth Foam, Inc.

<Insert manufacturer's name>.

Molded (Expanded) Polystyrene Board Insulation, Type II <Insert drawing designation>: ASTM C578, Type II, 15 psi (104 kPa) minimum compressive strength.

Retain "Manufacturers" Subparagraph and list of manufacturers below to require products from manufacturers listed or a comparable product from other manufacturers.

Manufacturers: Subject to compliance with requirements, provide products by one of the following:

Amvic Building System.

Atlas Molded Products; a division of Atlas Roofing Corporation.

DiversiFoam Products.

Insulfoam; Carlisle Construction Materials Company.

Plymouth Foam, Inc.

<Insert manufacturer's name>.

Molded (Expanded) Polystyrene Board Insulation, Type IX <Insert drawing designation>: ASTM C578, Type IX, 25 psi (173 kPa) minimum compressive strength.

Retain "Manufacturers" Subparagraph and list of manufacturers below to require products from manufacturers listed or a comparable product from other manufacturers.

Manufacturers: Subject to compliance with requirements, provide products by one of the following:

Atlas Molded Products; a division of Atlas Roofing Corporation.

DiversiFoam Products.

Insulfoam; Carlisle Construction Materials Company.

Plymouth Foam, Inc.

<Insert manufacturer's name>.

Molded (Expanded) Polystyrene Board Insulation, Type XIV <Insert drawing designation>: ASTM C578, Type XIV, 40 psi (276 kPa) minimum compressive strength.

Retain "Manufacturers" Subparagraph and list of manufacturers below to require products from manufacturers listed or a comparable product from other manufacturers.

Manufacturers: Subject to compliance with requirements, provide products by one of the following:

Atlas Molded Products; a division of Atlas Roofing Corporation.

Insulfoam; Carlisle Construction Materials Company.

Plymouth Foam, Inc.

<Insert manufacturer's name>.

Molded (Expanded) Polystyrene Board Insulation, Type XV <Insert drawing designation>: ASTM C578, Type XV, 60 psi (414 kPa) minimum compressive strength.

Retain "Manufacturers" Subparagraph and list of manufacturers below to require products from manufacturers listed or a comparable product from other manufacturers.

Manufacturers: Subject to compliance with requirements, provide products by one of the following:

Atlas Molded Products; a division of Atlas Roofing Corporation.

Insulfoam; Carlisle Construction Materials Company.

Plymouth Foam, Inc.

<Insert manufacturer's name>.

GRAPHITE-POLYSTYRENE FOAM-PLASTIC BOARD

Graphite-polystyrene foam-plastic board in this article is also called "GPS board" or "graphite-polystyrene board." Roman numeral designators in ASTM C578 are assigned in a fixed random sequence, and their numerical order does not reflect increasing strength or other characteristics.

Insert drawing designation. Use these designations on Drawings to indicate where each insulation type is required.

Graphite-Polystyrene Foam-Plastic Board, Type I <Insert drawing designation>: ASTM C578, Type I, 10 psi (69 kPa) minimum compressive strength; 4-perm (230-ng/Pa x s x sq. m) maximum vapor permeance at 1-inch (25.4-mm) thickness per ASTM E96/E96M.

Retain "Manufacturers" Subparagraph and list of manufacturers below to require products from manufacturers listed or a comparable product from other manufacturers.

Manufacturers: Subject to compliance with requirements, provide products by one of the following:

Atlas Molded Products; a division of Atlas Roofing Corporation.

Master Builders Solutions.

Insulfoam; Carlisle Construction Materials Company.

Opco, Inc.

StaRFoam.

<Insert manufacturer's name>.

Graphite-Polystyrene Foam-Plastic Board, Type I, Faced <Insert drawing designation>: ASTM C578, Type I, 10 psi (69 kPa) minimum compressive strength; 4-perm (230-ng/Pa x s x sq. m) maximum vapor permeance at 1-inch (25.4-mm) thickness per ASTM E96/E96M.

Retain "Manufacturers" Subparagraph and list of manufacturers below to require products from manufacturers listed or a comparable product from other manufacturers.

Manufacturers: Subject to compliance with requirements, provide products by one of the following:

Amvic Building System.

Atlas Molded Products; a division of Atlas Roofing Corporation.

Insulfoam; Carlisle Construction Materials Company.

LOGIX Brands Ltd.

Progressive Foam Technologies, Inc.

<Insert manufacturer's name>.

Graphite-Polystyrene Foam-Plastic Board, Type VIII <Insert drawing designation>: ASTM C578, Type VIII, 13 psi (90 kPa) minimum compressive strength; 3.1-perm (178-ng/Pa x s x sq. m) maximum vapor permeance at 1-inch (25.4-mm) thickness per ASTM E96/E96M.

Retain "Manufacturers" Subparagraph and list of manufacturers below to require products from manufacturers listed or a comparable product from other manufacturers.

Manufacturers: Subject to compliance with requirements, provide products by one of the following:

Master Builders Solutions.

Insulfoam; Carlisle Construction Materials Company.

Opco, Inc.

Perma R Products, Inc.

Polar Industries, Inc.

StarRFoam.

<Insert manufacturer's name>.

Graphite-Polystyrene Foam-Plastic Board, Type VIII, Faced <Insert drawing designation>: ASTM C578, Type VIII, 13 psi (90 kPa) minimum compressive strength; 3.1-perm (178-ng/Pa x s x sq. m) maximum vapor permeance at 1-inch (25.4-mm) thickness per ASTM E96/E96M.

Retain "Manufacturers" Subparagraph and list of manufacturers below to require products from manufacturers listed or a comparable product from other manufacturers.

Manufacturers: Subject to compliance with requirements, provide products by one of the following:

Atlas Molded Products; a division of Atlas Roofing Corporation.

Perma R Products, Inc.

<Insert manufacturer's name>.

Graphite-Polystyrene Foam-Plastic Board, Type II <Insert drawing designation>: ASTM C578, Type II, 15 psi (104 kPa) minimum compressive strength; 3.1-perm (178-ng/Pa x s x sq. m) maximum vapor permeance at 1-inch (25.4-mm) thickness per ASTM E96/E96M.

Retain "Manufacturers" Subparagraph and list of manufacturers below to require products from manufacturers listed or a comparable product from other manufacturers.

Manufacturers: Subject to compliance with requirements, provide products by one of the following:

Atlas Molded Products; a division of Atlas Roofing Corporation.

Master Builders Solutions.

Insulfoam; Carlisle Construction Materials Company.

Opco, Inc.

Polar Industries, Inc.

StaRFoam.

<Insert manufacturer's name>.

Graphite-Polystyrene Foam-Plastic Board, Type IX <Insert drawing designation>: ASTM C578, Type IX, 25 psi (173 kPa) minimum compressive strength; 2.5-perm (144-ng/Pa x s x sq. m) maximum vapor permeance at 1-inch (25.4-mm) thickness per ASTM E96/E96M.

Retain "Manufacturers" Subparagraph and list of manufacturers below to require products from manufacturers listed or a comparable product from other manufacturers.

Manufacturers: Subject to compliance with requirements, provide products by one of the following:

Atlas Molded Products; a division of Atlas Roofing Corporation.

Master Builders Solutions.

Insulfoam; Carlisle Construction Materials Company.

Perma R Products, Inc.

Polar Industries, Inc.

StaRFoam.

<Insert manufacturer's name>.

Graphite-Polystyrene Foam-Plastic Board, Type IX, Faced <Insert drawing designation>: ASTM C578, Type IX, 25 psi (173 kPa) minimum compressive strength; 2.5-perm (144-ng/Pa x s x sq. m) maximum vapor permeance at 1-inch (25.4-mm) thickness per ASTM E96/E96M.

Retain "Manufacturers" Subparagraph and list of manufacturers below to require products from manufacturers listed or a comparable product from other manufacturers.

Manufacturers: Subject to compliance with requirements, provide products by one of the following:

Amvic Building System.

Atlas Molded Products; a division of Atlas Roofing Corporation.

LOGIX Brands Ltd.

Perma R Products, Inc.

<Insert manufacturer's name>.

Graphite-Polystyrene Foam-Plastic Board, Type XIV <Insert drawing designation>: ASTM C578, Type XIV, 40 psi (276 kPa) minimum compressive strength; 2.5-perm (144-ng/Pa x s x sq. m) maximum vapor permeance at 1-inch (25.4-mm) thickness per ASTM E96/E96M.

Retain "Manufacturers" Subparagraph and list of manufacturers below to require products from manufacturers listed or a comparable product from other manufacturers.

Manufacturers: Subject to compliance with requirements, provide products by one of the following:

<Insert manufacturer's name>.

Graphite-Polystyrene Foam-Plastic Board, Type XV <Insert drawing designation>: ASTM C578, Type XV, 60 psi (414 kPa) minimum compressive strength; 2.5-perm (144-ng/Pa x s x sq. m) maximum vapor permeance at 1-inch (25.4-mm) thickness per ASTM E96/E96M.

Retain "Manufacturers" Subparagraph and list of manufacturers below to require products from manufacturers listed or a comparable product from other manufacturers.

Manufacturers: Subject to compliance with requirements, provide products by one of the following:

<Insert manufacturer's name>.

Graphite-Polystyrene Foam-Plastic Board, Type X, Faced <Insert drawing designation>: ASTM C578, Type X, 15 psi (104 kPa) minimum compressive strength; 1.1-perm (63-ng/Pa x s x sq. m) maximum vapor permeance at 1-inch (25.4-mm) thickness per ASTM E96/E96M.

Retain "Manufacturers" Subparagraph and list of manufacturers below to require products from manufacturers listed or a comparable product from other manufacturers.

Manufacturers: Subject to compliance with requirements, provide products by one of the following:

Insulfoam; Carlisle Construction Materials Company.

<Insert manufacturer's name>.

Graphite-Polystyrene Foam-Plastic Board, Type IV, Faced <Insert drawing designation>: ASTM C578, Type IV, 25 psi (173 kPa) minimum compressive strength; 1.1-perm (63-ng/Pa x s x sq. m) maximum vapor permeance at 1-inch (25.4-mm) thickness per ASTM E96/E96M.

Retain "Manufacturers" Subparagraph and list of manufacturers below to require products from manufacturers listed or a comparable product from other manufacturers.

Manufacturers: Subject to compliance with requirements, provide products by one of the following:

Insulfoam; Carlisle Construction Materials Company.

<Insert manufacturer's name>.

POLYISOCYANURATE FOAM-PLASTIC BOARD INSULATION

Insert drawing designations to identify each product. Use these designations on Drawings to indicate where each insulation type is required.

Polyisocyanurate Board Insulation, Foil Faced <Insert drawing designation>: ASTM C1289, foil faced, Type I, Class 1 or 2.

Retain "Manufacturers" Subparagraph and list of manufacturers below to require products from manufacturers listed or a comparable product from other manufacturers.

Manufacturers: Subject to compliance with requirements, provide products by one of the following:

Atlas Polyiso Roof and Wall Insulation.

Carlisle Coatings & Waterproofing Inc.

DuPont de Nemours, Inc.

Firestone Building Products.

Hunter Panels.

Johns Manville; a Berkshire Hathaway company.

Rmax, Inc.

The Dow Chemical Company.

<Insert manufacturer's name>.

Polyisocyanurate Board Insulation, Glass-Fiber-Mat Faced <Insert drawing designation>: ASTM C1289, glass-fiber-mat faced, Type II, Class 2.

Retain "Manufacturers" Subparagraph and list of manufacturers below to require products from manufacturers listed or a comparable product from other manufacturers.

Manufacturers: Subject to compliance with requirements, provide products by one of the following:

Atlas Polyiso Roof and Wall Insulation.

Carlisle Coatings & Waterproofing Inc.

Firestone Building Products.

Johns Manville; a Berkshire Hathaway company.

Rmax, Inc.

<Insert manufacturer's name>.

GLASS-FIBER BLANKET INSULATION

Copy paragraphs below and re-edit for each type of insulation required. Insert drawing designations to identify each product. Use these designations on Drawings to indicate where each insulation type is required.

Glass-Fiber Blanket Insulation, Unfaced <Insert drawing designation>: ASTM C665, Type I; passing ASTM E136 for combustion characteristics.

Retain "Manufacturers" Subparagraph and list of manufacturers below to require products from manufacturers listed or a comparable product from other manufacturers.

Manufacturers: Subject to compliance with requirements, provide products by one of the following:

Certainteed; SAINT-GOBAIN.

Johns Manville; a Berkshire Hathaway company.

Knauf Insulation.

Owens Corning.

<Insert manufacturer's name>.

Glass-Fiber Blanket Insulation, Polypropylene-Scrim-Kraft Faced <Insert drawing designation>: ASTM C665, Type II (nonreflective faced), Class A (faced surface with a flame-spread index of 25 or less); Category 1 (membrane is a vapor barrier).

Retain "Manufacturers" Subparagraph and list of manufacturers below to require products from manufacturers listed or a comparable product from other manufacturers.

Manufacturers: Subject to compliance with requirements, provide products by one of the following:

Certainteed; SAINT-GOBAIN.

Johns Manville; a Berkshire Hathaway company.

Knauf Insulation.

Owens Corning.

<Insert manufacturer's name>.

Glass-Fiber Blanket Insulation, Kraft Faced <Insert drawing designation>: ASTM C665, Type II (nonreflective faced), Class C (faced surface not rated for flame propagation); Category 1 (membrane is a vapor barrier).

Retain "Manufacturers" Subparagraph and list of manufacturers below to require products from manufacturers listed or a comparable product from other manufacturers.

Manufacturers: Subject to compliance with requirements, provide products by one of the following:

Certainteed; SAINT-GOBAIN.

Johns Manville; a Berkshire Hathaway company.

Knauf Insulation.

Owens Corning.

<Insert manufacturer's name>.

Glass-Fiber Blanket Insulation, Reinforced-Foil Faced <Insert drawing designation>: ASTM C665, Type III (reflective faced), Class A (faced surface with a flame-spread index of 25 or less); Category 1 (membrane is a vapor barrier), faced with foil scrim, foil-scrim kraft, or foil-scrim polyethylene.

Retain "Manufacturers" Subparagraph and list of manufacturers below to require products from manufacturers listed or a comparable product from other manufacturers.

Manufacturers: Subject to compliance with requirements, provide products by one of the following:

Certainteed; SAINT-GOBAIN.

Johns Manville; a Berkshire Hathaway company.

Knauf Insulation.

Owens Corning.

<Insert manufacturer's name>.

Glass-Fiber Blanket Insulation, Foil Faced <Insert drawing designation>: ASTM C665, Type III (reflective faced), Class B (faced surface with a flame-propagation resistance of 0.12 W/sq. cm); Category 1 (membrane is a vapor barrier), faced with foil scrim, foil-scrim kraft, or foil-scrim polyethylene.

Retain "Manufacturers" Subparagraph and list of manufacturers below to require products from manufacturers listed or a comparable product from other manufacturers.

Manufacturers: Subject to compliance with requirements, provide products by one of the following:

Certainteed; SAINT-GOBAIN.

Johns Manville; a Berkshire Hathaway company.

Knauf Insulation.

Owens Corning.

<Insert manufacturer's name>.

GLASS-FIBER BOARD INSULATION

Copy paragraphs below and re-edit for each type of insulation required. Insert drawing designations to identify each product. Use these designations on Drawings to indicate where each insulation type is required.

Glass-Fiber Board Insulation, Unfaced <Insert drawing designation>: ASTM C612, Type IA; unfaced[, passing ASTM E136 for combustion characteristics].

Retain "Manufacturers" Subparagraph and list of manufacturers below to require products from manufacturers listed or a comparable product from other manufacturers.

Manufacturers: Subject to compliance with requirements, provide products by one of the following:

Certainteed; SAINT-GOBAIN.

Johns Manville; a Berkshire Hathaway company.

Knauf Insulation.

Owens Corning.

<Insert manufacturer's name>.

Retain "Nominal Density" Subparagraph below if needed for weight design purposes; ASTM C612 indicates a maximum density of 8 lb/cu. ft. (128 kg/cu. m) for Type IA.

Nominal Density: [2.25 lb/cu. ft. (36 kg/cu. m)] [3 lb/cu. ft. (48 kg/cu. m)] [4.25 lb/cu. ft. (68 kg/cu. m)] [6 lb/cu. ft. (96 kg/cu. m)] <Insert value>.

Glass-Fiber Board Insulation, Faced <Insert drawing designation>: ASTM C612, Type IA; faced on one side with foil-scrim-kraft or foil-scrim-polyethylene vapor retarder.

Retain "Manufacturers" Subparagraph and list of manufacturers below to require products from manufacturers listed or a comparable product from other manufacturers.

Manufacturers: Subject to compliance with requirements, provide products by one of the following:

Certainteed; SAINT-GOBAIN.

Johns Manville; a Berkshire Hathaway company.

Knauf Insulation.

Owens Corning.

<Insert manufacturer's name>.

Retain "Nominal Density" Subparagraph below if needed for weight design purposes; ASTM C612 indicates a maximum density of 8 lb/cu. ft. (128 kg/cu. m) for Type IA.

Nominal Density: [2.25 lb/cu. ft. (36 kg/cu. m)] [3 lb/cu. ft. (48 kg/cu. m)] [4.25 lb/cu. ft. (68 kg/cu. m)] [6 lb/cu. ft. (96 kg/cu. m)] <Insert value>.

MINERAL-WOOL BLANKET INSULATION

Copy paragraphs below and re-edit for each type of insulation required. Insert drawing designations to identify each product. Use these designations on Drawings to indicate where each insulation type is required.

Mineral-Wool Blanket Insulation, Unfaced <Insert drawing designation>: ASTM C665, Type I (blankets without membrane facing); consisting of fibers; passing ASTM E136 for combustion characteristics.

Retain "Manufacturers" Subparagraph and list of manufacturers below to require products from manufacturers listed or a comparable product from other manufacturers.

Manufacturers: Subject to compliance with requirements, provide products by one of the following:

Johns Manville; a Berkshire Hathaway company.

Owens Corning.

ROCKWOOL.

<Insert manufacturer's name>.

Mineral-Wool Blanket Insulation, Reinforced-Foil Faced <Insert drawing designation>: ASTM C665, Type III (reflective faced); Category 1 (membrane is a vapor barrier), faced with foil scrim, foil-scrim kraft, or foil-scrim polyethylene.

Retain "Manufacturers" Subparagraph and list of manufacturers below to require products from manufacturers listed or a comparable product from other manufacturers.

Manufacturers: Subject to compliance with requirements, provide products by one of the following:

Owens Corning.

<Insert manufacturer's name>.

MINERAL-WOOL BOARD INSULATION

Copy paragraphs below and re-edit for each type of insulation required. Insert drawing designations to identify each product. Use these designations on Drawings to indicate where each insulation type is required.

Mineral-Wool Board Insulation, Types IA and IB, Unfaced <Insert drawing designation>: ASTM C612, Types IA and IB; passing ASTM E136 for combustion characteristics.

Retain "Manufacturers" Subparagraph and list of manufacturers below to require products from manufacturers listed or a comparable product from other manufacturers.

Manufacturers: Subject to compliance with requirements, provide products by one of the following:

Johns Manville; a Berkshire Hathaway company.

Owens Corning.

ROCKWOOL.

<Insert manufacturer's name>.

Retain "Nominal Density" Subparagraph below if needed for weight design purposes; ASTM C612 indicates a maximum density of 8 lb/cu. ft. (128 kg/cu. m) for Types IA and IB.

Nominal Density: [1.6 lb/cu. ft. (26 kg/cu. m)] [2.25 lb/cu. ft. (36 kg/cu. m)] [3 lb/cu. ft. (48 kg/cu. m)] [4 lb/cu. ft. (64 kg/cu. m)] [4.3 lb/cu. ft. (69 kg/cu. m)] [6 lb/cu. ft. (96 kg/cu. m)] [8 lb/cu. ft. (128 kg/cu. m)] <Insert value>.

Mineral-Wool Board Insulation, Types IA and IB, Faced <Insert drawing designation>: ASTM C612, Types IA and IB; faced on one side with foil-scrim or foil-scrim-polyethylene vapor retarder.

Retain "Manufacturers" Subparagraph and list of manufacturers below to require products from manufacturers listed or a comparable product from other manufacturers.

Manufacturers: Subject to compliance with requirements, provide products by one of the following:

Johns Manville; a Berkshire Hathaway company.

Owens Corning.

<Insert manufacturer's name>.

Retain "Nominal Density" Subparagraph below if needed for weight design purposes; ASTM C612 indicates a maximum density of 8 lb/cu. ft. (128 kg/cu. m) for Types IA and IB.

Nominal Density: [1.6 lb/cu. ft. (26 kg/cu. m)] [2.25 lb/cu. ft. (36 kg/cu. m)] [3 lb/cu. ft. (48 kg/cu. m)] [4 lb/cu. ft. (64 kg/cu. m)] [4.3 lb/cu. ft. (69 kg/cu. m)] [6 lb/cu. ft. (96 kg/cu. m)] [8 lb/cu. ft. (128 kg/cu. m)] <Insert value>.

Mineral-Wool Board Insulation, Type II, Unfaced <Insert drawing designation>: ASTM C612, Type II; passing ASTM E136 for combustion characteristics.

Retain "Manufacturers" Subparagraph and list of manufacturers below to require products from manufacturers listed or a comparable product from other manufacturers.

Manufacturers: Subject to compliance with requirements, provide products by one of the following:

Johns Manville; a Berkshire Hathaway company.

Owens Corning.

ROCKWOOL.

<Insert manufacturer's name>.

Retain "Nominal Density" Subparagraph below if needed for weight design purposes; ASTM C612 indicates a maximum density of 8 lb/cu. ft. (128 kg/cu. m) for Type II.

Nominal Density: [4 lb/cu. ft. (64 kg/cu. m)] [6 lb/cu. ft. (96 kg/cu. m)] [8 lb/cu. ft. (128 kg/cu. m)] <Insert value>.

Mineral-Wool Board Insulation, Type II, Faced <Insert drawing designation>: ASTM C612, Type II; faced on one side with foil-scrim or foil-scrim-polyethylene vapor retarder.

Retain "Manufacturers" Subparagraph and list of manufacturers below to require products from manufacturers listed or a comparable product from other manufacturers.

Manufacturers: Subject to compliance with requirements, provide products by one of the following:

Johns Manville; a Berkshire Hathaway company.

Owens Corning.

Specialty Products & Insulation (SPI).

<Insert manufacturer's name>.

Retain "Nominal Density" Subparagraph below if needed for weight design purposes; ASTM C612 indicates a maximum density of 8 lb/cu. ft. (128 kg/cu. m) for Type II.

Nominal Density: [4 lb/cu. ft. (64 kg/cu. m)] [6 lb/cu. ft. (96 kg/cu. m)] [8 lb/cu. ft. (128 kg/cu. m)] <Insert value>.

Mineral-Wool Board Insulation, Type III, Unfaced <Insert drawing designation>: ASTM C612, Type III; passing ASTM E136 for combustion characteristics.

Retain "Manufacturers" Subparagraph and list of manufacturers below to require products from manufacturers listed or a comparable product from other manufacturers.

Manufacturers: Subject to compliance with requirements, provide products by one of the following:

Johns Manville; a Berkshire Hathaway company.

Owens Corning.

ROCKWOOL.

<Insert manufacturer's name>.

Retain "Nominal Density" Subparagraph below if needed for weight design purposes; ASTM C612 indicates a maximum density of 10 lb/cu. ft. (160 kg/cu. m) for Type III.

Nominal Density: [4 lb/cu. ft. (64 kg/cu. m)] [6 lb/cu. ft. (96 kg/cu. m)] [8 lb/cu. ft. (128 kg/cu. m)] [10 lb/cu. ft. (160 kg/cu. m)] <Insert value>.

Mineral-Wool Board Insulation, Type III, Faced <Insert drawing designation>: ASTM C612, Type III; faced on one side with foil-scrim or foil-scrim-polyethylene vapor retarder.

Retain "Manufacturers" Subparagraph and list of manufacturers below to require products from manufacturers listed or a comparable product from other manufacturers.

Manufacturers: Subject to compliance with requirements, provide products by one of the following:

Johns Manville; a Berkshire Hathaway company.

Owens Corning.

ROCKWOOL.

Specialty Products & Insulation (SPI).

<Insert manufacturer's name>.

Retain "Nominal Density" Subparagraph below if needed for weight design purposes; ASTM C612 indicates a maximum density of 10 lb/cu. ft. (160 kg/cu. m) for Type III.

Nominal Density: [4 lb/cu. ft. (64 kg/cu. m)] [6 lb/cu. ft. (96 kg/cu. m)] [8 lb/cu. ft. (128 kg/cu. m)] [10 lb/cu. ft. (160 kg/cu. m)] <Insert value>.

Mineral-Wool Board Insulation, Type IVA <Insert drawing designation>: ASTM C612, Type IVA; [unfaced] [with black mat facer] <Insert facer material>.

Retain "Nominal Density" Subparagraph below if needed for weight design purposes; ASTM C612 indicates a maximum density of 12 lb/cu. ft. (192 kg/cu. m) for Type IVA.

Nominal Density: [4 lb/cu. ft. (64 kg/cu. m)] [6 lb/cu. ft. (96 kg/cu. m)] [8 lb/cu. ft. (128 kg/cu. m)] [10 lb/cu. ft. (160 kg/cu. m)] [11 lb/cu. ft. (176 kg/cu. m)] [12 lb/cu. ft. (192 kg/cu. m)] <Insert value>.

Mineral-Wool Board Insulation, Type IVB <Insert drawing designation>: ASTM C612, Type IVB; [unfaced] [with black mat facer] <Insert facer material>.

Retain "Nominal Density" Subparagraph below if needed for weight design purposes; ASTM C612 indicates a maximum density of 12 lb/cu. ft. (192 kg/cu. m) for Type IVB.

Nominal Density: [4.3 lb/cu. ft. (69 kg/cu. m)] [6 lb/cu. ft. (96 kg/cu. m)] [8 lb/cu. ft. (128 kg/cu. m)] [10 lb/cu. ft. (160 kg/cu. m)] [11 lb/cu. ft. (176 kg/cu. m)] [12 lb/cu. ft. (192 kg/cu. m)] [6.2 lb/cu. ft. (100) outer layer and 3.8 lb/cu. ft. (61 kg/cu. m) innerlayer] <Insert value>.

LOOSE-FILL INSULATION

Copy paragraphs below and re-edit for each type of insulation required. Insert drawing designations to identify each product. Use these designations on Drawings to indicate where each insulation type is required.

Cellulosic-Fiber Loose-Fill Insulation <Insert drawing designation>: ASTM C739, chemically treated for flame-resistance, processing, and handling characteristics.

Retain "Manufacturers" Subparagraph and list of manufacturers below to require products from manufacturers listed or a comparable product from other manufacturers.

Manufacturers: Subject to compliance with requirements, provide products by one of the following:

Greenfiber, LLC.

Hamilton Manufacturing, Inc. (HMI).

Nu-Wool Co., Inc.

<Insert manufacturer's name>.

Glass-Fiber Loose-Fill Insulation <Insert drawing designation>: ASTM C764, [Type I for pneumatic application] [or] [Type II for poured application].

Retain "Manufacturers" Subparagraph and list of manufacturers below to require products from manufacturers listed or a comparable product from other manufacturers.

Manufacturers: Subject to compliance with requirements, provide products by one of the following:

Certainteed; SAINT-GOBAIN.

Johns Manville; a Berkshire Hathaway company.

Knauf Insulation.

<Insert manufacturer's name>.

SPRAY-APPLIED CELLULOSIC INSULATION

Copy paragraph below and re-edit for each type of insulation required. Insert drawing designations to identify each product. Use these designations on Drawings to indicate where each insulation type is required.

Self-Supported, Spray-Applied Cellulosic Insulation <Insert drawing designation>: ASTM C1149, [Type I (materials applied with liquid adhesive; suitable for either exposed or enclosed applications),] [Type II (materials containing a dry adhesive activated by water during installation; intended only for enclosed or covered applications),] [Type III (materials containing an adhesive mixed with water during application; intended for application on attic floors),] chemically treated for flame-resistance, processing, and handling characteristics.

Retain "Manufacturers" Subparagraph and list of manufacturers below to require products from manufacturers listed or a comparable product from other manufacturers.

Manufacturers: Subject to compliance with requirements, provide products by one of the following:

Greenfiber, LLC.

Hamilton Manufacturing, Inc. (HMI).

International Cellulose Corp.

<Insert manufacturer's name>.

CELLULAR GLASS INSULATION

Copy paragraph below and re-edit for each type of insulation required. Insert drawing designations to identify each product. Use these designations on Drawings to indicate where each insulation type is required.

Cellular Glass Insulation <Insert drawing designation>: ASTM C552, [Type I (flat block)] [Type IV (board)] [faced on both sides with manufacturer's special kraft-paper sheets laminated to glass block with asphalt].

Retain "Manufacturers" Subparagraph and list of manufacturers below to require products from manufacturers listed or a comparable product from other manufacturers.

Manufacturers: Subject to compliance with requirements, provide products by one of the following:

Owens Corning.

<Insert manufacturer's name>.

REFLECTIVE INSULATION AND RADIANT BARRIERS

Reflective insulation products generally require application adjacent to an airspace to function. See manufacturers' literature for proper use.

Retain "Recycled Content" Paragraph below if required. An alternative method of requiring recycled content is to retain requirement in Project's Division 01 sustainable design requirements Section that gives Contractor the option and responsibility to determine how recycled content requirements will be met.

Retain first option for Fi-Foil's "AA2 Vapor Shield"; retain second option for "HY-Fi"; retain third option for "VR Plus Shield"; retain fourth option for "Silver Shield."

        - Recycled Content: Postconsumer recycled content plus one-half of preconsumer recycled content not less than [40] [30] [20] [10] percent.

Reflective insulations in "Reflective Bubble Insulation" Paragraph below consist of one or more sheets (substrates) separated with internal expanders or sheet bubble film and faced with aluminum foil or metallic coatings.

Fi-Foil's "AA2 Vapor Shield," "HY-Fi," "M-Shield," and "VR Plus Shield" multilayered reflective insulation are proprietarily structured products, with one or more sheets (substrates) separated with internal expanders and faced with aluminum foil or metallic coatings.

Retain "Reflective Bubble Insulation" Paragraph to specify Fi-Foil's "AA2 Vapor Shield," "HY-Fi," "M-Shield," and "VR Plus Shield."

Fi-Foil's "AA2 Vapor Shield," "M-Shield," and "VR Plus Shield" are intended for use on furred-out masonry walls.

Fi-Foil's "HY-Fi" is intended for use on furred-out frame walls.

Reflective Bubble Insulation: ASTM C1224, with one or more low-emittance surfaces with emittance value of 0.1 or less as measured per ASTM C1371.

Retain "Basis-of-Design Product" Subparagraph and list of manufacturers below to require a specific product or a comparable product from manufacturers listed.

Basis-of-Design Product: Subject to compliance with requirements, provide Fi-Foil Company, Inc.; [AA2 Vapor Shield] [HY-Fi] [M-Shield] [VR Plus Shield] multilayered reflective insulation or comparable product by one of the following:

<Insert manufacturer's name>.

Construction: Surfaces separated with internal expanders.

Facings: Aluminum foil or metalized film on one side[ and kraft paper on other side].

Retain second option in "Tabs" Subparagraph below for Fi-Foil's "M-Shield."

Tabs: [Staple tabs for wood furring] [Tape tabs for metal framing].

Retain first option in "Surface-Burning Characteristics" Subparagraph below for Fi-Foil's "M-Shield" or "VR Plus Shield"; retain second option for "AA2 Vapor Shield."

Surface-Burning Characteristics: [Maximum of 25] [Between 26 and 75] flame-spread index and maximum smoke-developed index of 450, respectively, when tested in accordance with ASTM E84.

R-Value: Heat flow horizontal measured in accordance with ASTM C1224.

Identification mark in "Labeling" Subparagraph below is required by the International Energy Conservation Code unless insulation installer is providing certification specified in "Informational Submittals" Article.

Labeling: Provide identification of mark indicating R-value of each piece of insulation 12 inches (305 mm) and wider in width.

Retain one or more of first six subparagraphs below for Fi-Foil's "AA2 Vapor Shield" or "M-Shield."

3/4-Inch (19-mm) Cavity: R-4.2, solid or nonperforated version.

3/4-Inch (19-mm) Cavity R-4.2, perforated version

3/4-Inch (19-mm) Cavity: R-4.1, perforated version.

7/8-Inch (22-mm) Cavity: R-4.7, solid or nonperforated version.

7/8-Inch (22-mm) Cavity: R-4.6, perforated version.

7/8-Inch (22-mm) Cavity: R-4.5, perforated version.

1-1/2- to 1-5/8-Inch (38- to 41-mm) Cavity: R-5.2, solid or nonperforated version.

1-1/2- to 1-5/8-Inch (38- to 41-mm) Cavity: R-5.1, perforated version.

Retain one or more of first three subparagraphs below for Fi-Foil's "HY-Fi."

2- by 4-Inch (51- by 102-mm) Frame Wall, Multilayered Reflective Insulation with 2-Inch (51-mm) R-6.75 Closed Cell Spray Foam: R-21.

2- by 6-Inch (51- by 152-mm) Frame Wall, Multilayered Reflective Insulation with 4-Inch (102 mm) R-3.5 Open Cell Spray Foam: R-22.

2- by 6-Inch (51- by 152-mm) Frame Wall, Multilayered Reflective Insulation with 3.5-Inch (89-mm) R-13 Unfaced Fiberglass Batt: R-21.

Retain one of first two subparagraphs below, or both, for Fi-Foil's "VR Plus Shield." For other R-value calculations, see www.fifoil.com.

1-1/2-Inch (38-mm) Cavity: R-6.5, solid or nonperforated version.

1-5/8-Inch (418-mm) Cavity: R-7.1, solid or perforated version.

Retain first option in "Water-Vapor Transmission" Subparagraph below if reflective insulation is to serve as vapor retarder; if not, retain second option.

Two versions of Fi-Foil's "AA2 Vapor Shield," "HY-Fi," and "VR Plus Shield" are offered: nonperforated or solid reflective insulation and perforated reflective insulation. "M-Shield" is only offered in perforated reflective insulation.

Retain first option below for Fi-Foil's "HY-Fi" or "VR Plus Shield" solid or nonperforated; retain second option for "AA2 Vapor Shield" solid; retain third option for "HY-Fi" or "VR Plus Shield" perforated; retain fourth option for "AA2 Vapor Shield" perforated; retain fifth option for "M-Shield."

Water-Vapor Transmission: [0.018 perm (1.03 ng/Pa x s x sq. m), maximum] [1.0 perm (57.5 ng/Pa x s x sq. m), maximum] [2.6 perms (149 ng/Pa x s x sq. m) or greater] [4.7 perms (270 ng/Pa x s x sq. m) or greater] [6.5 perms (373 ng/Pa x s x sq. m) or greater] [7.46 perms (428.6 ng/Pa x s x sq. m) or greater] when tested in accordance with ASTM E96.

Retain first option in "Mold and Mildew Resistance" Subparagraph below for Fi-Foil's "AA2 Vapor Shield," "HY-Fi," and "VR Plus Shield"; retain second option for "M-Shield."

Mold and Mildew Resistance: [Pass] [No growth]; in accordance with ASTM C1338.

Insulation in "Reflective Polyethylene Foam Insulation" Paragraph below consists of 1/2-inch- (13-mm-) thick, closed-cell polyethylene with low-E aluminum-reinforced facing.

Reflective Polyethylene Foam Insulation: ASTM C1224, with one or more low-emittance surfaces with emittance value of 0.1 or less as measured per ASTM C1371.

Retain "Basis-of-Design Product" Subparagraph and list of manufacturers below to require a specific product or a comparable product from manufacturers listed.

Basis-of-Design Product: Subject to compliance with requirements, provide Fi-Foil Company, Inc.; Flex Foam continuous insulation or comparable product by one of the following:

<Insert manufacturer's name>.

Construction: 1/2-inch- (13-mm-) thick, closed-cell polyethylene with low-E aluminum-reinforced facing.

Surface-Burning Characteristics: Maximum flame-spread and smoke-developed indexes of 25 and 450, respectively, when tested in accordance with ASTM E84.

R-Value: Heat flow horizontal measured in accordance with ASTM C1224.

Identification mark in "Labeling" Subparagraph below is required by the International Energy Conservation Code unless insulation installer is providing certification specified in "Informational Submittals" Article.

Labeling: Provide identification of mark indicating R-value of each piece of insulation 12 inches (305 mm) and wider in width.

Retain one or more of first three subparagraphs below for Fi-Foil's "Flex Foam."

1/2-Inch (19-mm) Cavity: R-1.6, perforated version.

3/4-Inch (19-mm) Cavity R-4.5, perforated version.

1-1/2-Inch (38-mm) Cavity: R-4.7, perforated version.

Water-Vapor Transmission: 1.5 perms (86 ng/Pa x s x sq. m) maximum, when tested in accordance with ASTM E96.

Mold and Mildew Resistance: Pass; in accordance with ASTM C1338.

Insulations in "Reflective Double-Bubble Insulation" Paragraph below consist of one or more sheets (substrates) separated with sheet bubble film and faced with metallic or polyethylene coatings.

Retain "Reflective Double-Bubble Insulation" Paragraph for Fi-Foil's "RBI Shield" and "RetroShield System."

Reflective Double-Bubble Insulation: ASTM C1224, with one or more low-emittance surfaces with emittance value of 0.1 or less as measured in accordance with ASTM C1371.

Retain "Basis-of-Design Product" Subparagraph and list of manufacturers below to require a specific product or a comparable product from manufacturers listed.

Basis-of-Design Product: Subject to compliance with requirements, provide Fi-Foil Company, Inc.; RBI Shield multilayer, double-bubble reflective insulation[ with clip-and-pin components] or comparable product by one of the following:

Innovative Energy, Inc.

Reflectix, Inc.

<Insert manufacturer's name>.

Construction: Surfaces separated by double layer.

Facings: Metalized film on [both sides] [one side and white polyethylene on other side].

Surface-Burning Characteristics: Maximum flame-spread and smoke-developed indexes of 25 and 450, respectively, when tested in accordance with ASTM E84.

R-Values: In accordance with ASTM C236, ASTM STP 1116, and ASHRAE's "Book of Fundamentals and National Bureau of Standards" including lower air film attached to bottom of 6- to 8-inch (152- to 203-mm) purlin.

Heat Flow Down: [R-16, reflective/reflective] [R-12, reflective/white].

Heat Flow Up: [R-4.7, reflective/reflective] [R-4.0, reflective/white].

Heat Flow Horizontal: [R-5.4, reflective/reflective] [R-4.4, reflective/white].

Tensile Strength: In accordance with ASTM D2261.

            - Machine Direction (MD): 5.0 lb/sq. in. (34.5 kPa).

Transverse Direction (TD): 6.0 lb/sq. in. (41.1 kPa).

Tear Strength: In accordance with ASTM D2261.

            - Machine Direction (MD): 5.0 lb/sq. in. (34.5 kPa).

Transverse Direction (TD): 6.0 lb/sq. in. (41.1 kPa).

Water-Vapor Transmission: 0.12 perm (6.89 ng/Pa x s x sq. m) or less, when tested in accordance with ASTM E96.

Mold and Mildew Resistance: Pass; in accordance with ASTM C1338.

Hot-Surface Performance: 50 to 250 deg F (10 to 121 deg C); in accordance with ASTM C411.

Mold and Mildew Resistance: Pass; in accordance with ASTM C1338.

Sheet Width: [16 inches (406 mm)] [24 inches (610 mm)] [48 inches (1219 mm)] [54 inches (1372 mm)] [66 inches (1676 mm)] [72 inches (1829 mm)] [96 inches (2438 mm)].

Sheet radiant barriers in first paragraph below consist of sheets (substrates) faced with aluminum foil or metallic coatings.

Sheet Radiant Barrier: ASTM C1313/C1313M with at least one surface with emittance value of 0.1 or less as measured per ASTM C1371.

Retain "Basis-of-Design Product" Subparagraph and list of manufacturers below to require a specific product or a comparable product from manufacturers listed.

Basis-of-Design Product: Subject to compliance with requirements, provide Fi-Foil Company, Inc.; [Radiant] [Silver] Shield or comparable product by one of the following:

Innovative Energy, Inc.

Innovative Insulation, Inc.

<Insert manufacturer's name>.

Retain first option in "Construction" Subparagraph below for Fi-Foil's "Radiant Shield;" retain second option for "Silver Shield."

Construction: [Two outer-layers of aluminum foil laminated to layer of woven polyethylene] [Inner layer of metalized polymer with outside layer of reinforced aluminum foil and kraft paper bonded with fire-retardant adhesive].

Surface-Burning Characteristics: Maximum flame-spread and smoke-developed indexes of 25 and 450, respectively.

Tear Resistance: In accordance with ASTM D2261.

Retain first option in "Machine Direction (MD)" and "Cross-Machine Direction (CD)" subparagraphs below for Fi-Foil's "Radiant Shield;" retain second option for "Silver Shield."

Machine Direction (MD): [27.6 lb (122.8 N)] [1.77 lb (7.9 N)].

Cross-Machine Direction (CD): [26.1 lb (106.1 N)] [2.32 lb (10.3 N)].

Retain first option in "Water-Vapor Transmission" Subparagraph below if radiant barrier is to serve as vapor retarder; if not, retain first option for Fi-Foil's "Radiant Shield"; retain second option for "Silver Shield."

Water-Vapor Transmission: [13 perms (747 ng/Pa x s x sq. m)] [5 perms (287 ng/Pa x s x sq. m)] or greater, when tested in accordance with ASTM E96.

Retain second, fourth, and fifth options in "Sheet Width" Subparagraph below for Fi-Foil's "Radiant Shield;" retain first, second, and third options for "Silver Shield."

Sheet Width: [17.5 inches (445 mm)] [25.5 inches (648 mm)] [31.5 inches (800 mm)] [48 inches (1219 mm)] [51 inches (1295 mm)].

, Interior radiation control coating systems in paragraph below are liquid coatings available in either a solvent- or water-based formulation. If retaining solvent-based coating, verify its acceptability with local air quality-control board.

Interior Radiation Control Coating System: Silver-colored, low-emissivity, [solvent] [water]-based coating; with a surface emittance value of 0.25 or less as measured per ASTM C1371.

Retain "Manufacturers" Subparagraph and list of manufacturers below to require products from manufacturers listed or a comparable product from other manufacturers.

Manufacturers: Subject to compliance with requirements, provide products by one of the following:

SOLEC Solar Energy Corporation.

STS Coatings, Inc.

<Insert manufacturer's name>.

INSULATION FASTENERS

Anchor in "Adhesively Attached, Spindle-Type Anchors" Paragraph below is an example of a mechanical fastener. Prong anchors, welding pins, pointed rods, for example, are also available; insert here as required.

Adhesively Attached, Spindle-Type Anchors: Plate welded to projecting spindle; capable of holding insulation of specified thickness securely in position with self-locking washer in place.

Retain "Manufacturers" Subparagraph and list of manufacturers below to require products from manufacturers listed or a comparable product from other manufacturers.

Manufacturers: Subject to compliance with requirements, provide products by one of the following:

AGM Industries, Inc.

Gemco.

<Insert manufacturer's name>.

Revise "Plate" and "Spindle" subparagraphs below if stainless steel or another metal is required.

Plate: Perforated, galvanized carbon-steel sheet, 0.030 inch (0.762 mm) thick by 2 inches (50 mm) square.

Spindle: Copper-coated, low-carbon steel; fully annealed; 0.105 inch (2.67 mm) in diameter; length to suit depth of insulation.

Anchors in "Adhesively Attached, Angle-Shaped, Spindle-Type Anchors" Paragraph below are intended for attaching insulation to mullions while preventing it from touching spandrel glass.

Adhesively Attached, Angle-Shaped, Spindle-Type Anchors: Angle welded to projecting spindle; capable of holding insulation of specified thickness securely in position with self-locking washer in place.

Retain "Manufacturers" Subparagraph and list of manufacturers below to require products from manufacturers listed or a comparable product from other manufacturers.

Manufacturers: Subject to compliance with requirements, provide products by one of the following:

Gemco.

<Insert manufacturer's name>.

Revise "Angle" and "Spindle" subparagraphs below if stainless steel or another metal is required.

Angle: Formed from 0.030-inch- (0.762-mm-) thick, perforated, galvanized carbon-steel sheet with each leg 2 inches (50 mm) square.

Spindle: Copper-coated, low-carbon steel; fully annealed; 0.105 inch (2.67 mm) in diameter; length to suit depth of insulation.

Revise size in "Insulation-Retaining Washers" Paragraph below if required.

Insulation-Retaining Washers: Self-locking washers formed from 0.016-inch- (0.41-mm-) thick galvanized-steel sheet, with beveled edge for increased stiffness, sized as required to hold insulation securely in place, but not less than 1-1/2 inches (38 mm) square or in diameter.

Retain "Manufacturers" Subparagraph and list of manufacturers below to require products from manufacturers listed or a comparable product from other manufacturers.

Manufacturers: Subject to compliance with requirements, provide products by one of the following:

AGM Industries, Inc.

Gemco.

<Insert manufacturer's name>.

Retain subparagraph below if anchors are used in crawlspaces, ceiling plenums, attic spaces, and so forth, where sharp ends of spindles would be exposed to human contact.

Protect ends with capped self-locking washers incorporating a spring steel insert to ensure permanent retention of cap in the following locations:

Crawlspaces.

Ceiling plenums.

Attic spaces.

<Insert location>.

Insulation Standoff: Spacer fabricated from galvanized mild-steel sheet for fitting over spindle of insulation anchor to maintain airspace of [1 inch (25 mm)] [2 inches (50 mm)] [3 inches (76 mm)] between face of insulation and substrate to which anchor is attached.

Retain "Manufacturers" Subparagraph and list of manufacturers below to require products from manufacturers listed or a comparable product from other manufacturers.

Manufacturers: Subject to compliance with requirements, provide products by one of the following:

Gemco.

<Insert manufacturer's name>.

Anchor Adhesive: Product with demonstrated capability to bond insulation anchors securely to substrates without damaging insulation, fasteners, or substrates.

Retain "Manufacturers" Subparagraph and list of manufacturers below to require products from manufacturers listed or a comparable product from other manufacturers.

Manufacturers: Subject to compliance with requirements, provide products by one of the following:

AGM Industries, Inc.

Gemco.

<Insert manufacturer's name>.

ACCESSORIES

Retain "Insulation for Miscellaneous Voids" Paragraph below for miscellaneous voids if needed for thermal protection or air-infiltration reduction.

Insulation for Miscellaneous Voids:

Glass-Fiber Insulation: ASTM C764, Type II, loose fill; with maximum flame-spread and smoke-developed indexes of 5, per ASTM E84.

Spray Polyurethane Foam Insulation: ASTM C1029, Type II, closed cell, with maximum flame-spread and smoke-developed indexes of 75 and 450, respectively, per ASTM E84.

Polyurethane Pour-In-Place Insulation: Closed cell, with maximum flame-spread and smoke-developed indexes of 75 and 450, respectively, per ASTM E84, specifically formulated for pour-in-place applications.

Retain "Manufacturers" Subparagraph and list of manufacturers below to require products from manufacturers listed or a comparable product from other manufacturers.

Manufacturers: Subject to compliance with requirements, provide products by one of the following:

Huntsman Building Solutions.

<Insert manufacturer's name>.

Retain "Adhesive for Bonding Insulation" Paragraph below for insulation adhesively bonded to substrates.

Adhesive for Bonding Insulation: Product compatible with insulation and air and water barrier materials, and with demonstrated capability to bond insulation securely to substrates without damaging insulation and substrates.

Retain "Asphalt Coating for Cellular-Glass Block Insulation" Paragraph below for field-applied coating if required.

Asphalt Coating for Cellular-Glass Block Insulation: Cutback asphalt or asphalt emulsion of type recommended by manufacturer of cellular-glass block insulation.

Retain "Eave Ventilation Troughs" Paragraph below if required for vented eaves in attics to receive blanket insulation.

Eave Ventilation Troughs: Preformed, rigid fiberboard or plastic sheets designed and sized to fit between roof framing members and to provide ventilation between insulated attic spaces and vented eaves.

Fi-Foil's "FSK Shield" sheet vapor barrier is intended to be used as Class A facing for unfaced batts in walls, above drop ceilings or attached to the bottom of exposed wood or metal floor joists. Install with kraft-paper facing batts and foil exposed (in walls) or foil facing down (above dropped in ceilings or under floor joists).

        - Sheet Vapor Barriers: Foil facing composed of 0.0003-inch (0.008-mm) aluminum foil bonded to 30-lb (13.6-kg) kraft paper with flame-retardant adhesive with tri-directional fiberglass scrim.

Retain "Basis-of-Design Product" Subparagraph below to identify a specific product or a comparable product.

Basis-of-Design Product: Subject to compliance with requirements, provide Fi-Foil Company, Inc.; FSK Shield or comparable product.

Surface-Burning Characteristics, ASTM E84, Class A: Maximum flame-spread and smoke-developed indexes of 25 and 450, respectively.

Fi-Foil's "SkyFlex" or "SkyFlex VT" air barrier is intended to be used to reduce radiant heat transfer, when exposed to air films, or enclosed airspaces in building cavities.

Retain second option in "Air Barrier" Paragraph below for Fi-Foil's "CLAF."

Air Barrier: Multilayered air barrier with [two layers of aluminum deposited on a layer of woven polyethylene] [a layer of vapor transmitting fabric reinforced metalized film].

Retain "Basis-of-Design Product" Subparagraph below to identify a specific product or a comparable product.

Basis-of-Design Product: Subject to compliance with requirements, provide Fi-Foil Company, Inc.; [SkyFlex] [SkyFlex VT] or comparable product.

Air Permeability, ASTM E2178: Less than [0.0035 cfm/sq. ft. at 1.57 lb/sq. ft. (0.2 L x s/sq. m at 75 Pa)] [0.0007 cfm/sq. ft. at 1.57 lb/sq. ft. (0.04 L x s/sq. m at 75 Pa)].

Class I vapor retarders have perm ratings of 0.1 or less, which are impermeable and stop moisture migration. Class II vapor retarders have perm ratings of 0.1 to 1.0 and are semi-impermeable. Class III vapor retarders have perm ratings of 1.0 to 10 and are permeable.

Vapor Retarder: [Class I, 0.1 or less] [Vapor permeable, 10 or greater].

Surface-Burning Characteristics, ASTM E84, Class A: Maximum flame-spread and smoke-developed indexes of 25 and 50, respectively.

Retain "Clip-and-Pin Components" Paragraph below for use with tape tab, reflective bubble insulation for metal building and framing applications to secure mechanical connections.

Clip-and-Pin Components:

Beam/Bar Joist Clips: For beams, bar joists, and Z-type purlins.

C-Purlin Clips: For C-type purlins.

Angle Clips: For sidewalks and floors.

Tube Clips: For wood beams and metal tubular framing.

Locking Washers: Aluminum; white to match reflective bubble insulation facing colors.

Tapes for Reflective Insulation and Radiant Barriers:

Retain "Basis-of-Design Product" Subparagraph below to identify a specific product or a comparable product.

Basis-of-Design Product: Subject to compliance with requirements, provide 3M; Aluminum-foil tape or comparable product.

Aluminum-foil tape for repairs or splicing material.

Insulation facing tape for sealing tears or cuts in sheet vapor barrier.

EXECUTION

PREPARATION

Clean substrates of substances that are harmful to insulation, including removing projections capable of puncturing insulation or vapor retarders, or that interfere with insulation attachment.

INSTALLATION, GENERAL

Comply with insulation manufacturer's written instructions applicable to products and applications.

Install insulation that is undamaged, dry, and unsoiled and that has not been left exposed to ice, rain, or snow at any time.

First paragraph below is required by the International Energy Conservation Code unless insulation installer is providing certification specified in "Informational Submittals" Article.

Install insulation with manufacturer's R-value label exposed after insulation is installed.

Extend insulation to envelop entire area to be insulated. Fit tightly around obstructions and fill voids with insulation. Remove projections that interfere with placement.

Provide sizes to fit applications and selected from manufacturer's standard thicknesses, widths, and lengths. Apply single layer of insulation units unless multiple layers are otherwise shown or required to make up total thickness or to achieve R-value.

INSTALLATION OF SLAB INSULATION

On vertical slab edge and foundation surfaces, set insulation units using manufacturer's recommended adhesive in accordance with manufacturer's written instructions.

If not otherwise indicated, extend insulation a minimum of [24 inches (610 mm)] [36 inches (915 mm)] <Insert dimension> below exterior grade line.

On horizontal surfaces, loosely lay insulation units in accordance with manufacturer's written instructions. Stagger end joints and tightly abut insulation units.

If not otherwise indicated, extend insulation a minimum of [24 inches (610 mm)] [36 inches (915 mm)] <Insert dimension> in from exterior walls.

INSTALLATION OF FOUNDATION WALL INSULATION

Verify, with manufacturer, methods of installation of insulation for concrete substrates. Revise first paragraph below to indicate type of concrete substrate, such as architectural precast concrete panels or cast-in-place concrete walls. Revise to include channels for exposed insulation if required.

Butt panels together for tight fit.

Retain "Anchor Installation" or "Adhesive Installation" Paragraph below to suit Project.

Anchor Installation: Install board insulation on concrete substrates by adhesively attached, spindle-type insulation anchors as follows:

Fasten insulation anchors to concrete substrates with insulation anchor adhesive in accordance with anchor manufacturer's written instructions.

Space anchors in accordance with insulation manufacturer's written instructions for insulation type, thickness, and application.

Indicate width of cavity on Drawings.

Apply insulation standoffs to each spindle to create cavity width indicated on Drawings between concrete substrate and insulation.

After adhesive has dried, install board insulation by pressing insulation into position over spindles and securing it tightly in place with insulation-retaining washers, taking care not to compress insulation.

Where insulation will not be covered by other building materials, apply capped washers to tips of spindles.

Adhesive Installation: Install with adhesive or press into tacky waterproofing or dampproofing in accordance with manufacturer's written instructions.

INSTALLATION OF CAVITY-WALL INSULATION

Foam-Plastic Board Insulation: Install pads of adhesive spaced approximately 24 inches (610 mm) o.c. both ways on inside face and as recommended by manufacturer.

Fit courses of insulation between[ wall ties and other] obstructions, with edges butted tightly in both directions, and with faces flush.

Press units firmly against inside substrates.

Retain subparagraph below if insulation does not fill cavity. Coordinate with Section 042000 "Unit Masonry" where ties are specified.

Supplement adhesive attachment of insulation by securing boards with two-piece wall ties designed for this purpose and specified in Section 042000 "Unit Masonry."

Retain "Cellular-Glass Board Insulation" Paragraph below if required. Revise to include sealed joints and asphalt coating for moisture protection of units if required.

Cellular-Glass Board Insulation: Install with closely fitting joints using [adhesive pad] [serrated trowel] attachment method in accordance with manufacturer's written instructions.

Mineral-Wool Board Insulation: Install insulation fasteners 4 inches (100 mm) from each corner of board insulation, at center of board, and as recommended by manufacturer.

Fit courses of insulation between[ masonry wall ties and other] obstructions, with edges butted tightly in both directions, and with faces flush.

Press units firmly against inside substrates.

INSTALLATION OF INSULATION IN FRAMED CONSTRUCTION

Blanket Insulation: Install in cavities formed by framing members in accordance with the following requirements:

Use insulation widths and lengths that fill the cavities formed by framing members. If more than one length is required to fill the cavities, provide lengths that will produce a snug fit between ends.

Place insulation in cavities formed by framing members to produce a friction fit between edges of insulation and adjoining framing members.

Maintain 3-inch (76-mm) clearance of insulation around recessed lighting fixtures not rated for or protected from contact with insulation.

Retain "Attics" Subparagraph below for eave ventilation.

Attics: Install eave ventilation troughs between roof framing members in insulated attic spaces at vented eaves.

Retain first subparagraph below for metal-framed construction.

For metal-framed wall cavities where cavity heights exceed 96 inches (2438 mm), support unfaced blankets mechanically and support faced blankets by taping flanges of insulation to flanges of metal studs.

Retain first subparagraph below for wood-framed construction.

For wood-framed construction, install blankets in accordance with ASTM C1320 and as follows:

With faced blankets having stapling flanges, lap blanket flange over flange of adjacent blanket to maintain continuity of vapor retarder once finish material is installed over it.

Vapor-Retarder-Faced Blankets: Tape joints and ruptures in vapor-retarder facings, and seal each continuous area of insulation to ensure airtight installation.

Specify location of vapor retarder in "Exterior Walls" Subparagraph below based on vapor-flow analysis of a construction assembly.

Exterior Walls: Set units with facing placed toward [exterior of construction] [interior of construction] [as indicated on Drawings].

Retain "Interior Walls" Subparagraph below for interior walls around high-humidity areas such as shower rooms and swimming pools.

Interior Walls: Set units with facing placed [as indicated on Drawings] [toward areas of high humidity] <Insert location>.

Miscellaneous Voids: Install insulation in miscellaneous voids and cavity spaces where required to prevent gaps in insulation using the following materials:

Glass-Fiber Insulation: Compact to approximately 40 percent of normal maximum volume equaling a density of approximately 2.5 lb/cu. ft. (40 kg/cu. m).

Spray Polyurethane Insulation: Apply in accordance with manufacturer's written instructions.

Retain "Loose-Fill Insulation" Paragraph below for loose-fill glass-fiber or cellulosic insulation.

Loose-Fill Insulation: Apply in accordance with ASTM C1015 and manufacturer's written instructions.

Level horizontal applications to uniform thickness as indicated, lightly settle to uniform density, but do not compact excessively.

Retain subparagraph below for cellulosic-fiber loose-fill insulation.

For cellulosic-fiber loose-fill insulation, comply with CIMA's Bulletin #2, "Standard Practice for Installing Cellulose Insulation."

Retain "Spray-Applied Cellulosic Insulation" Paragraph below for self-supported, spray-applied cellulosic insulation or spray polyurethane foam insulation.

Spray-Applied Cellulosic Insulation: Apply spray-applied insulation in accordance with manufacturer's written instructions.

Do not apply insulation until installation of pipes, ducts, conduits, wiring, and electrical outlets in walls is completed and windows, electrical boxes, and other items not indicated to receive insulation are masked.

After insulation is applied, make flush with face of studs by using method recommended by insulation manufacturer.

INSTALLATION OF CURTAIN-WALL INSULATION

Install board insulation in curtain-wall construction in accordance with curtain-wall manufacturer's written instructions.

Indicate width of cavity on Drawings.

Hold insulation in place by securing metal clips and straps or integral pockets within window frames, spaced at intervals recommended in writing by insulation manufacturer to hold insulation securely in place without touching spandrel glass.

Maintain cavity width of dimension indicated on Drawings between insulation and glass.

Install insulation to fit snugly without bowing.

INSTALLATION OF REFLECTIVE INSULATION AND RADIANT BARRIERS

For Fi-Foil's Grade 1 "Installation Guidelines and Standards" for multilayered reflective insulation of masonry wall applications, see www.fifoil.com.

Install sheet reflective insulation in accordance with manufacturer's written instructions and ASTM C727.

Install sheet radiant barriers in accordance with manufacturer's written instructions and ASTM C1744.

Install interior radiation control coating system in accordance with manufacturer's written instructions and ASTM C1321.

PROTECTION

Protect installed insulation from damage due to harmful weather exposures, physical abuse, and other causes.

Provide temporary coverings or enclosures where insulation is subject to abuse and cannot be concealed and protected by permanent construction immediately after installation.

END OF SECTION 072100